
Chapter 1: Introduction

* 1. Motivation

Photovoltaic solar energy has been expanding significantly around the world, due to its generation being considered renewable and sustainable. Often, this source is seen as a way to diversify the energy matrix of countries, besides generating low environmental and social impacts. Despite this, solar energy still represents a very small portion of the global energy matrix, but this index is expected to increase in the coming years due to the high investment in so-called green energies and concern about climate change due to global warming.

Basically, a solar generation system consists of interconnected solar panels connected to an inverter, which in turn is connected to a main power panel. The solar panels are responsible for converting sunlight into Direct Current (DC) energy. The inverter converts the current to Alternating Current (AC) and matches its frequency with the utility grid frequency, transforming the energy into a usable form for storage in batteries or direct supply to the grid. The energy going into the grid passes through a bidirectional meter that measures the amount in kWh of supplied energy.



Solar energy is not always available; after all, we have nights and cloudy, rainy days. This requires efficient ways to transport and store energy, as well as requiring higher efficiency from photovoltaic cells. Nevertheless, the generation system presents its advantages: It generates less environmental impact since it is an energy generator that does not produce greenhouse gases; It has an infinite source of energy since it uses the sun to produce it; and has low operation and maintenance costs compared to the costs of other forms of energy generation.

Although Solar Plants are considered to have low maintenance costs, there is still a need for improvement in the operation and maintenance performance since a failure or defect can significantly reduce generation or even render the plant unable to generate energy.

A good way to ensure the efficiency of the solar system as a whole would be to understand how photovoltaic solar panels behave in different external temperatures and the levels of solar irradiation that fall on the panels, as well as providing swift maintenance to detect generation failures or decreases in energy efficiency in the components that make up a photovoltaic solar power plant.

* 1. Research Problem

The lack of effective monitoring is one of the causes that make photovoltaic solar plants less efficient, leading to many unnecessary maintenance tasks, decreased equipment lifespan, and thus increasing the operation cost of the plant, as well as energy generation losses due to equipment downtime that required maintenance.

The increase in maintenance costs and the loss of energy generation directly impact the monetary gains that the plant is capable of generating, whether in the form of energy savings, where energy generation must exceed consumption, or when the generated energy is sold to the end customer, where reduced generation indicates a lower supply of electrical energy.

* 1. Research Questions
  2. Research Hypothesis (Ho, Ha)
  3. Research Objectives

**Monitoring and Predictive Maintenance**: The objective is to identify anomalies that may indicate the need for maintenance or cleaning of solar panels, using temperature and irradiation sensor data, ensuring that these panels operate in better conditions, increasing their performance and energy yield sustainably.

**Enhancement of Efficiency**: Through equipment performance data, it will be possible to identify equipment with inferior performance. The goal is to enhance the overall efficiency of the plant, reduce equipment downtime, and extend the lifespan of solar panels and inverters that make up the photovoltaic generation system.

**Effective Energy Generation Management**: The objective is to develop models that can accurately predict energy production by analyzing energy generation and solar irradiation metrics. This capability can reduce losses, enabling effective energy generation management and ensuring better electricity supply.

Chapter 2: Literature Review / Related works

2.1 Technologies you are using

**Data Source**: The source of the datasets is Kaggle, which provides public datasets for analysis. Two datasets generated from photovoltaic energy generation and temperature sensor data from a solar plant in India will be used. These datasets contain 34 days of generation data from the year 2020.

**Employed Technique:** Exploratory Data Analysis (EDA), Data Preprocessing.

**Machine Learning Models:** Linear Regression, Random Forest Regression, Neural Networks, .

**Language and Libraries:** Python (Pandas, Scikit-Learn, Matplotlib etc)

2.2 Summary of Related Work

The reviewed studies on preventive maintenance in solar power plants show the growing application of machine learning (ML) in predictive maintenance by contrasting traditional approaches with data-driven strategies. Betti et al. propose a monitoring system that forecasts inverter breakdowns up to seven days in advance with a 95% sensitivity using SCADA and techniques like neural networks and unsupervised clustering. Alsheikh et al.'s examination of many machine learning models (AE-LSTM, Facebook-Prophet, and Isolation Forest) for anomaly detection in photovoltaic components highlights the importance of specialized models for decision-making. Vyas et al. examine how maintenance operations impact solar power generation prediction by using machine learning to refine forecasts based on historical issues and meteorological variables. Using data gathered from 26 solar power facilities, Refaee uses supervised models for performance classification and early failure identification, with 98.85% accuracy using the J48 algorithm. In their state-of-the-art review of condition monitoring for solar systems, Berghout et al. include typical failures, conventional detection methods, and machine learning developments including deep learning and transfer learning. All things considered, these studies show how ML-based techniques are better than conventional ones, allowing for quicker and more precise remedial operations, lower operating costs, and optimized energy production.

Chapter 3: Methodology

Objective: To develop an ML-based prediction model to improve solar power plant maintenance.

Add Archtectural diagram of your project

3.1 Dataset information

This project's analysis of temperature sensor and photovoltaic power generating data from an Indian solar plant is its goal. The datasets are on Kaggle and include the generated power, ambient temperature, module temperature, and irradiation.

There will be two datasets used, one from temperature sensor data from two solar plants in India and the other from photovoltaic energy generation. 34 days' worth of generation data from 2020 are included in these databases. The analysis will be facilitated and made simpler by using data from just one of the photovoltaic plants.

Dataset names: Plant\_1\_Generation\_Data and Plant\_1\_Weather\_Data.

The project's objective is to discover how energy generation is related to environmental factors and then create a power generation prediction model using the collected data.

Variable Identification: Generation data

* DATE\_TIME - Date and time for each observation. Observations recorded at 15 minute intervals.
* PLANT\_ID - Plant ID number.
* INVERTER - Inverter id.
* DC\_POWER - Amount of DC power generated by the Inverter in this 15 minute interval (kW).
* AC\_POWER - Amount of AC power generated by the Inverter in this 15 minute interval (kW).
* DAILY\_YIELD - Daily yield is a cumulative sum of power generated on that day, till that point in time.
* TOTAL\_YIELD - This is the total yield for the inverter till that point in time.

Variable Identification: Temperature and Solar Irradiation data

* DATE\_TIME - Date and time for each observation. Observations recorded at 15 minute intervals.
* Plant ID - this will be common for the entire file.
* SENSOR - Stands for the sensor panel id.
* AMBIENT\_TEMPERATURE - This is the ambient temperature at the plant.
* MODULE\_TEMPERATURE - There is a module (solar panel) attached to the sensor panel. This is the temperature reading for that module.
* IRRADIATION - Amount of irradiation for the 15 minute interval.

3.2 Data analysis and preprocessing

3.3 Model Training (3 models)

3.3.1 Neural network (ex.)

3.3.2 Random Forest (ex.)

3.3.3 other (ex.)

3.4 Model evaluation

Chapter 4: Result and Discussion

4.1 Results from ache model

...

4.2 Classification from ML algorithms

4.3 Regression Result from algorithms

Paragraph (Discuss your result and compare with research hypothesis)

Chapter 5: Conclusion (Brief about research problem, aim , solution results contribution to the body of knowledge and future work)